## Slide 1: POCUS project updates
Yiling Yang
Xiaoyang Li
12/04/2020

## Slide 2: Descriptive Statistics of the subjects

## Slide 3: 4 x 4 confusion matrix between US 2 results and surgery findings
US2 | Surgery |  |  |  | 
Frequency | 1 | 2 | 3 | 4 | Total
1 | 11 | 0 | 0 | 0 | 11
2 | 21 | 7 | 0 | 0 | 28
3 | 12 | 6 | 4 | 9 | 31
4 | 2 | 1 | 0 | 2 | 5
Total | 46 | 14 | 4 | 11 | 75

## Slide 4: 2 x 2 confusion matrix between US 2 results and surgery findings
Sensitivity | 0.6500
Specificity | 1.0000
Positive Predictive Value | 1.0000
Negative Predictive Value | 0.4167
US 2 | Surgery |  | 
Frequency | 0 | 1 | Total
0 | 39 | 0 | 39
1 | 21 | 15 | 36
Total | 60 | 15 | 75

## Slide 5: 4 x 4 confusion matrix between US 1 results and surgery findings
US1 | Surgery |  |  |  | 
Frequency | 1 | 2 | 3 | 4 | Total
1 | 13 | 2 | 1 | 0 | 16
2 | 22 | 6 | 0 | 4 | 32
3 | 9 | 5 | 4 | 6 | 24
4 | 1 | 0 | 0 | 1 | 2
Total | 45 | 13 | 5 | 11 | 74

## Slide 6: 2 x 2 confusion matrix between US 1 results and surgery findings
Sensitivity | 0.7414
Specificity | 0.6875
Positive Predictive Value | 0.8958
Negative Predictive Value | 0.4231
US 1 | Surgery |  | 
Frequency | 0 | 1 | Total
0 | 43 | 5 | 48
1 | 15 | 11 | 26
Total | 58 | 16 | 74

## Slide 7: 1st Antibiotic effect – t-test on appendix diameter
T-test (include the outlier) | 
p.value | 0.808
Mean of anti = 0 | -3.350e-03
Mean of anti = 1 | 5.340e-02
T-test (remove the outlier) | 
p.value | 0.816
Mean of POCUS | 5.285e-02
Mean of RADUS | 13.086
No received antibiotic | Received antibiotic | Total
40 | 43 | 83

## Slide 8: 1st Antibiotic effect – t-test on mural thickness
T-test (include the outlier) | 
p.value | 0.215
Mean of anti = 0 | -0.057
Mean of anti = 1 | -0.666
T-test (remove the outlier) | 
p.value | 0.225
Mean of POCUS | -0.057
Mean of RADUS | -0.200
No received antibiotic | Received antibiotic | Total
26 | 25 | 51

## Slide 9: Duration difference between department
T-test (include the outlier) | 
p.value | 2.119e-04
Mean of POCUS | 7.363
Mean of RADUS | 14.305
T-test (remove the outlier) | 
p.value | 3.726e-05
Mean of POCUS | 7.363
Mean of RADUS | 13.086
Remove duration = 0

## Slide 10: Duration difference between department for the same subject(46)
T-test (include the outlier) | 
p.value | 0.01347
Mean of POCUS | 7.891
Mean of RADUS | 13.609
T-test (remove the outlier) | 
p.value | 0.01589
Mean of POCUS | 8.022
Mean of RADUS | 12.022
Remove duration = 0

## Slide 11: Prediction by scan characteristics
Response: Surgical report 0/1 (combine 1&2, 3&4)
Covariate from 2nd Ultrasound scan:
1) lossSM: loss of normal echogenic submucosal layer. In the dataset, loss of SM layer is captured by the ultrasound stage (combine 1&2, 3&4)
2) Muralthick: Maximum mural thickness
3) periappendiceal fluid: Presence of surrounding free fluid
4) fecalith: presence of fecalith
5) Appdiam: largest diameter of appendix
61 observations after remove NA

## Slide 12: Prediction by scan characteristics – logistic regreesion
Freefluid |  |  |  | 
Original | No | Yes | Yes; simple | Yes; complex
FreefluidNew | 0 | 1 | 1 | 1
FreefluidCom | 0 | 0 | 0 | 1

## Slide 13: Prediction by scan characteristics – logistic regreesion
When using FreefluidNew:
prediction | Surgery |  | 
Frequency | 0 | 1 | Total
0 | 44 | 5 | 49
1 | 4 | 8 | 12
Total | 48 | 13 | 61
kappa | 0.547
Sensitivity | 0.615
Specificity | 0.916
Positive Predictive Value | 0.667
Negative Predictive Value | 0.898

## Slide 14: Prediction by scan characteristics – logistic regreesion
When using FreefluidCom:
prediction | Surgery |  | 
Frequency | 0 | 1 | Total
0 | 45 | 7 | 52
1 | 3 | 6 | 9
Total | 48 | 13 | 61
kappa | 0.450
Sensitivity | 0.462
Specificity | 0.937
Positive Predictive Value | 0.667
Negative Predictive Value | 0.865

## Slide 15
Predict surgical outcome by Logistic Model based on scan characteristics
Predict surgical outcome by 2nd US results

## Slide 16: ROC curves of surgical result prediction
Set the grid of cutoff at
0.8 0.9 1.0 1.1 1.2 1.3 1.4
Turn appdiam as binary vatiable
surg_bi ~ Appdiam + lossSM

## Slide 17: ROC curves of surgical result prediction
appDiam | continuous | Cut at 1mm | Cut at 1.1mm | Cut at 1.2mm
Accuracy | 0.853 | 0.820 | 0.836 | 0.853
Kappa | 0.547 | 0.529 | 0.537 | 0.547
Sensitivity | 0.615 | 0.769 | 0.692 | 0.615
Specificity | 0.917 | 0.833 | 0.875 | 0.917
AUC | 0.882 | 0.876 | 0.883 | 0.890
Calculate the corresponding prediction probability and cut probability at 0.5 to get below table

## Slide 18: Receptivity
The Ultrasound was technically easy to perform
The Ultrasound was well tolerated by the patient
The Ultrasound was well-accepted by the family
Perform
Tolerated
Accepted